## PSO site
|  |  | Generates the PRN files |  | Generates the .txt files |  | From 2016 calibration
| Items highlighted in Yellow disignate changes from previous sitefile |  | M = 1000/R | R = 1000/Multiplier | M = 1000/R | R = 1000/Multiplier | M = 1000/R | R = 1000/Multiplier
|  |  | Multiplier (In program) | Rused ( In Program) | M | R(secondary) (to generate txt file) (may not be accurate) (from sitefile) | Multiplier (should be) | R(shouldbe) (From 2016 calibrations) | u95% | Notes, Column 4, M | Notes: Column 5, R | Notes: Column 6, M | Notes: Column7, R | Notes: Column 8, M | Notes: Column 9, R | Notes: Column 10, Uncertainty (%)
datafilesbelowhere | datafilesbelowhere | datafilesbelowhere | datafilesbelowhere | datafilesbelowhere | datafilesbelowhere | datafilesbelowhere | datafilesbelowhere | datafilesbelowhere
StationIDNumber | 94808
Station | PSO
StationName | Portland_Oregon_USA
Longitude (+ east) | -122.6835
Latitude | 45.5127 |  | Column 4 | Column 5 | Column 6 | Column 7 | Column 8 | Column 9 | Column 10
Altitude | 63
TimeZone (+ east) | -8 |  | Items highlighted in Yellow disignate changes from previous sitefile
newcalibration
1979 | 1.0007 | 1979-01-01--00:01
junk
newcalibration |  |  |  |  | NA | NA
2019 | 1.0007 | 2019-01-01--00:01 |  |  | NA | NA
0 | RSP(PY37794_GHI))_adjusted | RSP_GHI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | This is the RSP adjusted value, we want to compute the adjustment ourselves
0 | RSP(PY37794_DNI)_adjusted | RSP_DNI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | This is the RSP adjusted value, we want to compute the adjustment ourselves
0 | RSP(PY37794_DHI)_adjusted | RSP_DHI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | This is the RSP adjusted value, we want to compute the adjustment ourselves
9300 | Temp(PSO) | T(PSO) | 1 | 1000 | NA | NA | 1 | 1000 | 1 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | ErrorFlag(PSO) | V | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
0 | Voltage(PSO) | V | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
9370 | RSP(PY37794)_Temp | RSP_Temp | 1 | 1000 | NA | NA | 1 | 1000 | 1 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
1000 | RSP(PY21090_GHI) | RSP_GHI | 9.75 | 102.5641 | NA | NA | 10.3334 | 96.7736 | 2.4652 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | RSP PY37794_(PSO).xlsx \ R(2017-2018)_2020.5 | RSP PY37794_(PSO).xlsx \ R(2017-2018)_2020.5
2010 | RSP(PY21090_DNI) | RSP_DNI | 9.75 | 102.5641 | NA | NA | 10.3334 | 96.7736 | 2.4652 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | RSP PY37794_(PSO).xlsx \ R(2017-2018)_2020.5 | RSP PY37794_(PSO).xlsx \ R(2017-2018)_2020.5
3000 | RSP(PY21090_DHI) | RSP_DHI | 9.75 | 102.5641 | NA | NA | 10.3334 | 96.7736 | 2.4652 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | RSP PY37794_(PSO).xlsx \ R(2017-2018)_2020.5 | RSP PY37794_(PSO).xlsx \ R(2017-2018)_2020.5
9210 | WindSpeed(PSO) | WS(PSO) | 1 | 1000 | NA | NA | 1 | 1000 | 2 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9200 | WindDirection(PSO) | WD(PSO) | 1 | 1000 | NA | NA | 1 | 1000 | 2 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
1160 | Licor(PY56419) | GTI(16:201) | 200 | 5 | NA | NA | 210.5485 | 4.7495 | 2.837 | PSU_PVtest2018.CR1 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
1360 | Licor(PY56424) | GTI(30:201) | 200 | 5 | NA | NA | 214.1924 | 4.6687 | 2.0352 | PSU_PVtest2018.CR2 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6161 | Unisolar(.816kW)_VDC | PV(.816kW)_VDC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR3 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6362 | Evergreen(1.14kW)_VDC | PV(1.14kW)_VDC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR4 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6363 | Photowatt(1.260kW)_VDC | PV(1.26kW)_VDC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR5 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6364 | Kaneka(.6kW)_VDC | PV(.6kW)_VDC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR6 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_VDC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
6366 | Sanyo(1.755kW)_WestString_VDC | PV(1.755kW)_VDC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR8 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4161 | Unisolar(.816kwW)_ADC | PV(.816kW)_ADC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR9 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4362 | Evergreen(1.14kW)_ADC | PV(1.14kW)_ADC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR10 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4363 | Photowatt(1.260kW)_ADC | PV(1.26kW)_ADC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR11 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4364 | Kaneka(.6kW)_ADC | PV(.6kW)_ADC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR12 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_ADC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
4366 | Sanyo(1.755kW)_ADC | PV(1.755kW)_ADC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR14 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5161 | Unisolar(.816kwW)_WDC | PV(.816kW)_WDC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR15 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5362 | Evergreen(1.14kW)_WDC | PV(1.14kW)_WDC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR16 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5363 | Photowatt(1.260kW)_WDC | PV(1.26kW)_WDC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR17 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5364 | Kaneka(.6kW)_WDC | PV(.6kW)_WDC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR18 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_WDC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
5366 | Sanyo(1.755kW)_WestString_WDC | PV(1.755kW)_WDC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR20 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5161_AC | Unisolar(.816kwW)_WAC | PV(.816kW)_WAC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR21 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5362_AC | Evergreen(1.14kW)_WAC | PV(1.14kW)_WAC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR22 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5363_AC | Photowatt(1.260kW)_WAC | PV(1.26kW)_WAC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR23 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5364_AC | Kaneka(.6kW)_WAC | PV(.6kW)_WAC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR24 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_WAC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
5366_AC | Sanyo(1.755kW)_WestString_WAC | PV(1.755kW)_WAC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR26 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5369 | Total_Power_PV(5.571)_WAC | Total_PV(5.571)_WAC | 7.5 | 133.3333 | NA | NA | 7.5 | 133.3333 | 1 | PSU_PVtest2018.CR27 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6369 | Total_Voltage_PV(5.571)_VAC | Total_PV(5.571)_VAC | 0.15 | 6666.6667 | NA | NA | 0.15 | 6666.6667 | 1 | PSU_PVtest2018.CR28 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9371 | Unisolar_PV_Temp | PV(.816kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR29 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9372 | Evergreen_PV_Temp | PV(1.14kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR30 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9373 | Photowatt_PV_Temp | PV(1.26kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR31 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9374 | Kaneka_PV_Temp_WestString | PV(.6kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR32 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9375 | Kaneka_PV_Temp_EastString | NA | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR33 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9376 | Sanyo_PV_Temp | PV(1.755kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR34 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Battery_V | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
newcalibration |  |  |  |  | NA | NA
2020 | 1.0007 | 2020-01-01--00:01 |  |  | NA | NA
0 | RSP(PY37794_GHI))_adjusted | RSP_GHI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | This is the RSP adjusted value, we want to compute the adjustment ourselves
0 | RSP(PY37794_DNI)_adjusted | RSP_DNI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | This is the RSP adjusted value, we want to compute the adjustment ourselves
0 | RSP(PY37794_DHI)_adjusted | RSP_DHI | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | This is the RSP adjusted value, we want to compute the adjustment ourselves
9300 | Temperature(PSO) | TEMP(PSO) | 1 | 1000 | NA | NA | 1 | 1000 | 1 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | ErrorFlag(PSO) | V | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
0 | Voltage(PSO) | V | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
9370 | RSP(PY37794)_Temp | RSP_Temp | 1 | 1000 | NA | NA | 1 | 1000 | 1 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
1000 | RSP(PY21090_GHI) | RSP_GHI | 9.75 | 102.5641 | NA | NA | 10.3334 | 96.7736 | 2.4652 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP unadjusted | The RSP is calibrated in adjusted form.
2010 | RSP(PY21090_DNI) | RSP_DNI | 9.75 | 102.5641 | NA | NA | 10.3334 | 96.7736 | 2.4652 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP unadjusted | The RSP is calibrated in adjusted form.
3000 | RSP(PY21090_DHI) | RSP_DHI | 9.75 | 102.5641 | NA | NA | 10.3334 | 96.7736 | 2.4652 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP unadjusted | The RSP is calibrated in adjusted form.
9210 | WindSpeed(PSO) | WS(PSO) | 1 | 1000 | NA | NA | 1 | 1000 | 2 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9200 | WindDirection(PSO) | WD(PSO) | 1 | 1000 | NA | NA | 1 | 1000 | 2 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
1160 | Licor(PY56419) | GTI(16:201) | 200 | 5 | NA | NA | 210.5485 | 4.7495 | 2.837 | PSU_PVtest2018.CR1 | R = 1000/M | NA | NA | M = 1000/R | LICOR(PY56419)_PSO_Tilt).xlsx R(2017-2018) | LICOR(PY56419)_PSO_Tilt).xlsx R(2017-2018)
1360 | Licor(PY56424) | GTI(30:201) | 200 | 5 | NA | NA | 214.1924 | 4.6687 | 2.0352 | PSU_PVtest2018.CR2 | R = 1000/M | NA | NA | M = 1000/R | LICOR(PY56424)_(PSO_Tilt).xlsx \ R(2017-2018) | LICOR(PY56424)_(PSO_Tilt).xlsx \ R(2017-2018)
6160 | Unisolar(.816kW)_Volt_DC | PV(.816kW)_Volt_DC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR3 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6362 | Evergreen(1.14kW)_Volt_DC | PV(1.14kW)_Volt_DC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR4 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6364 | Photowatt(1.260kW)_Volt_DC | PV(1.26kW)_Volt_DC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR5 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6366 | Kaneka(.6kW)_Volt_DC | PV(.6kW)_Volt_DC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR6 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_Volt_DC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
6368 | Sanyo(1.755kW)_WestString_Volt_DC | PV(1.755kW)_Volt_DC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR8 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4160 | Unisolar(.816kwW)_Current_DC | PV(.816kW)_Current_DC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR9 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4362 | Evergreen(1.14kW)_Current_DC | PV(1.14kW)_Current_DC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR10 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4364 | Photowatt(1.260kW)_Current_DC | PV(1.26kW)_Current_DC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR11 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4366 | Kaneka(.6kW)_Current_DC | PV(.6kW)_Current_DC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR12 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_Current_DC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
4368 | Sanyo(1.755kW)_Current_DC | PV(1.755kW)_Current_DC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR14 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5160 | Unisolar(.816kwW)_Power_DC | PV(.816kW)_Power_DC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR15 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5362 | Evergreen(1.14kW)_Power_DC | PV(1.14kW)_Power_DC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR16 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5364 | Photowatt(1.260kW)_Power_DC | PV(1.26kW)_Power_DC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR17 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5366 | Kaneka(.6kW)_Power_DC | PV(.6kW)_Power_DC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR18 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_Power_DC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
5368 | Sanyo(1.755kW)_WestString_Power_DC | PV(1.755kW)_Power_DC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR20 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5161 | Unisolar(.816kwW)_Power_AC | PV(.816kW)_Power_AC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR21 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5363 | Evergreen(1.14kW)_Power_AC | PV(1.14kW)_Power_AC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR22 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5365 | Photowatt(1.260kW)_Power_AC | PV(1.26kW)_Power_AC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR23 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5367 | Kaneka(.6kW)_Power_AC | PV(.6kW)_Power_AC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR24 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_Power_AC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
5369 | Sanyo(1.755kW)_WestString_Power_AC | PV(1.755kW)_Power_AC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR26 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5361.5 | Total_Power_PV(5.571)_Power_AC | Total_PV(5.571)_Power_AC | 7.5 | 133.3333 | NA | NA | 7.5 | 133.3333 | 1 | PSU_PVtest2018.CR27 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6369 | Total_Voltage_PV(5.571)_Volt_AC | Total_PV(5.571)_Volt_AC | 0.15 | 6666.6667 | NA | NA | 0.15 | 6666.6667 | 1 | PSU_PVtest2018.CR28 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9370 | Unisolar_PV_Temp | PV(.816kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR29 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9372 | Evergreen_PV_Temp | PV(1.14kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR30 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9374 | Photowatt_PV_Temp | PV(1.26kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR31 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9376 | Kaneka_PV_Temp_WestString | PV(.6kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR32 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9377 | Kaneka_PV_Temp_EastString | NA | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR33 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9378 | Sanyo_PV_Temp | PV(1.755kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR34 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Battery_V | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
newcalibration
2021 | 1.0007 | 2021-01-01--00:01 |  |  | NA | NA
0 | RSP(PY37794_GHI))_adjusted | GHI_RSP | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | This is the RSP adjusted value, we want to compute the adjustment ourselves
0 | RSP(PY37794_DNI)_adjusted | DNI_RSP | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | This is the RSP adjusted value, we want to compute the adjustment ourselves
0 | RSP(PY37794_DHI)_adjusted | DHI_RSP | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | This is the RSP adjusted value, we want to compute the adjustment ourselves
9300 | Temperature(PSO) | TEMP_PSO | 1 | 1000 | NA | NA | 1 | 1000 | 1 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | ErrorFlag(PSO) | V | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
0 | Voltage(PSO) | V | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
9370 | RSP(PY37794)_Temp | RSP_Temp | 1 | 1000 | NA | NA | 1 | 1000 | 1 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
1000 | RSP(PY21090_GHI) | GHI_RSP | 9.75 | 102.5641 | NA | NA | 10.3334 | 96.7736 | 2.4652 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP unadjusted | The RSP is calibrated in adjusted form.
2010 | RSP(PY21090_DNI) | DNI_RSP | 9.75 | 102.5641 | NA | NA | 10.3334 | 96.7736 | 2.4652 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP unadjusted | The RSP is calibrated in adjusted form.
3000 | RSP(PY21090_DHI) | DHI_RSP | 9.75 | 102.5641 | NA | NA | 10.3334 | 96.7736 | 2.4652 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP unadjusted | The RSP is calibrated in adjusted form.
9210 | WindSpeed(PSO) | WS_PSO | 1 | 1000 | NA | NA | 1 | 1000 | 2 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9200 | WindDirection(PSO) | WD_PSO | 1 | 1000 | NA | NA | 1 | 1000 | 2 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
1160 | Licor(PY56419) | GTI(16:201)_LICOR | 200 | 5 | NA | NA | 210.5485 | 4.7495 | 2.837 | PSU_PVtest2018.CR1 | R = 1000/M | NA | NA | M = 1000/R | LICOR(PY56419)_PSO_Tilt).xlsx R(2017-2018) | LICOR(PY56419)_PSO_Tilt).xlsx R(2017-2018)
1360 | Licor(PY56424) | GTI(30:201)_LICOR | 200 | 5 | NA | NA | 214.1924 | 4.6687 | 2.0352 | PSU_PVtest2018.CR2 | R = 1000/M | NA | NA | M = 1000/R | LICOR(PY56424)_(PSO_Tilt).xlsx \ R(2017-2018) | LICOR(PY56424)_(PSO_Tilt).xlsx \ R(2017-2018)
6160 | Unisolar(.816kW)_Volt_DC | PV(.816kW)_Volt_DC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR3 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6362 | Evergreen(1.14kW)_Volt_DC | PV(1.14kW)_Volt_DC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR4 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6364 | Photowatt(1.260kW)_Volt_DC | PV(1.26kW)_Volt_DC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR5 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6366 | Kaneka(.6kW)_Volt_DC | PV(.6kW)_Volt_DC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR6 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_Volt_DC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
6368 | Sanyo(1.755kW)_WestString_Volt_DC | PV(1.755kW)_Volt_DC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR8 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4160 | Unisolar(.816kwW)_Current_DC | PV(.816kW)_Current_DC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR9 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4362 | Evergreen(1.14kW)_Current_DC | PV(1.14kW)_Current_DC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR10 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4364 | Photowatt(1.260kW)_Current_DC | PV(1.26kW)_Current_DC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR11 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4366 | Kaneka(.6kW)_Current_DC | PV(.6kW)_Current_DC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR12 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_Current_DC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
4368 | Sanyo(1.755kW)_Current_DC | PV(1.755kW)_Current_DC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR14 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5160 | Unisolar(.816kwW)_Power_DC | PV(.816kW)_Power_DC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR15 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5362 | Evergreen(1.14kW)_Power_DC | PV(1.14kW)_Power_DC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR16 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5364 | Photowatt(1.260kW)_Power_DC | PV(1.26kW)_Power_DC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR17 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5366 | Kaneka(.6kW)_Power_DC | PV(.6kW)_Power_DC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR18 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_Power_DC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
5368 | Sanyo(1.755kW)_WestString_Power_DC | PV(1.755kW)_Power_DC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR20 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5161 | Unisolar(.816kwW)_Power_AC | PV(.816kW)_Power_AC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR21 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5363 | Evergreen(1.14kW)_Power_AC | PV(1.14kW)_Power_AC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR22 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5365 | Photowatt(1.260kW)_Power_AC | PV(1.26kW)_Power_AC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR23 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5367 | Kaneka(.6kW)_Power_AC | PV(.6kW)_Power_AC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR24 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_Power_AC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
5369 | Sanyo(1.755kW)_WestString_Power_AC | PV(1.755kW)_Power_AC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR26 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5361.5 | Total_Power_PV(5.571)_Power_AC | Total_PV(5.571)_Power_AC | 7.5 | 133.3333 | NA | NA | 7.5 | 133.3333 | 1 | PSU_PVtest2018.CR27 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6369 | Total_Voltage_PV(5.571)_Volt_AC | Total_PV(5.571)_Volt_AC | 0.15 | 6666.6667 | NA | NA | 0.15 | 6666.6667 | 1 | PSU_PVtest2018.CR28 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9370 | Unisolar_PV_Temp | PV(.816kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR29 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9372 | Evergreen_PV_Temp | PV(1.14kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR30 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9374 | Photowatt_PV_Temp | PV(1.26kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR31 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9376 | Kaneka_PV_Temp_WestString | PV(.6kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR32 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9377 | Kaneka_PV_Temp_EastString | NA | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR33 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9378 | Sanyo_PV_Temp | PV(1.755kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR34 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Battery_V | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
newcalibration
2021.3288 | 121.0007 | 2021-05-01--00:01 |  |  | NA | NA
0 | RSP(PY37794_GHI))_adjusted | GHI_RSP | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | This is the RSP adjusted value, we want to compute the adjustment ourselves
0 | RSP(PY37794_DNI)_adjusted | DNI_RSP | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | This is the RSP adjusted value, we want to compute the adjustment ourselves
0 | RSP(PY37794_DHI)_adjusted | DHI_RSP | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | This is the RSP adjusted value, we want to compute the adjustment ourselves
9300 | Temperature(PSO) | TEMP_PSO | 1 | 1000 | NA | NA | 1 | 1000 | 1 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | ErrorFlag(PSO) | V | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
0 | Voltage(PSO) | V | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
9370 | RSP(PY37794)_Temp | RSP_Temp | 1 | 1000 | NA | NA | 1 | 1000 | 1 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
1000 | RSP(PY21090_GHI) | GHI_RSP | 9.75 | 102.5641 | NA | NA | 10.3334 | 96.7736 | 2.4652 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP unadjusted | The RSP is calibrated in adjusted form.
0 | RSP(PY21090_DNI) | DNI_RSP | 9.75 | 102.5641 | NA | NA | 10.3334 | 96.7736 | 2.4652 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP PY37794_(PSO).xlsx \ R(2017-2018) | DNI computed in postprocessing
3000 | RSP(PY21090_DHI) | DHI_RSP | 9.75 | 102.5641 | NA | NA | 10.3334 | 96.7736 | 2.4652 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP PY37794_(PSO).xlsx \ R(2017-2018) | RSP unadjusted | The RSP is calibrated in adjusted form.
9210 | WindSpeed(PSO) | WS_PSO | 1 | 1000 | NA | NA | 1 | 1000 | 2 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9200 | WindDirection(PSO) | WD_PSO | 1 | 1000 | NA | NA | 1 | 1000 | 2 | RSPCOR0718_1MIN.CSI | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
1160 | Licor(PY56419) | GTI(16:201)_LICOR | 200 | 5 | NA | NA | 210.5485 | 4.7495 | 2.837 | PSU_PVtest2018.CR1 | R = 1000/M | NA | NA | M = 1000/R | LICOR(PY56419)_PSO_Tilt).xlsx R(2017-2018) | LICOR(PY56419)_PSO_Tilt).xlsx R(2017-2018)
1360 | Licor(PY56424) | GTI(30:201)_LICOR | 200 | 5 | NA | NA | 214.1924 | 4.6687 | 2.0352 | PSU_PVtest2018.CR2 | R = 1000/M | NA | NA | M = 1000/R | LICOR(PY56424)_(PSO_Tilt).xlsx \ R(2017-2018) | LICOR(PY56424)_(PSO_Tilt).xlsx \ R(2017-2018)
6160 | Unisolar(.816kW)_Volt_DC | PV(.816kW)_Volt_DC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR3 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6362 | Evergreen(1.14kW)_Volt_DC | PV(1.14kW)_Volt_DC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR4 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6364 | Photowatt(1.260kW)_Volt_DC | PV(1.26kW)_Volt_DC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR5 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6366 | Kaneka(.6kW)_Volt_DC | PV(.6kW)_Volt_DC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR6 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_Volt_DC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
6368 | Sanyo(1.755kW)_WestString_Volt_DC | PV(1.755kW)_Volt_DC | 0.3 | 3333.3333 | NA | NA | 0.3 | 3333.3333 | 1 | PSU_PVtest2018.CR8 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4160 | Unisolar(.816kwW)_Current_DC | PV(.816kW)_Current_DC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR9 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4362 | Evergreen(1.14kW)_Current_DC | PV(1.14kW)_Current_DC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR10 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4364 | Photowatt(1.260kW)_Current_DC | PV(1.26kW)_Current_DC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR11 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
4366 | Kaneka(.6kW)_Current_DC | PV(.6kW)_Current_DC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR12 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_Current_DC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
4368 | Sanyo(1.755kW)_Current_DC | PV(1.755kW)_Current_DC | 0.0075 | 133333.3333 | NA | NA | 0.0075 | 133333.3333 | 1 | PSU_PVtest2018.CR14 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5160 | Unisolar(.816kwW)_Power_DC | PV(.816kW)_Power_DC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR15 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5362 | Evergreen(1.14kW)_Power_DC | PV(1.14kW)_Power_DC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR16 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5364 | Photowatt(1.260kW)_Power_DC | PV(1.26kW)_Power_DC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR17 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5366 | Kaneka(.6kW)_Power_DC | PV(.6kW)_Power_DC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR18 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_Power_DC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
5368 | Sanyo(1.755kW)_WestString_Power_DC | PV(1.755kW)_Power_DC | 0.00225 | 444444.4444 | NA | NA | 0.00225 | 444444.4444 | 1 | PSU_PVtest2018.CR20 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5161 | Unisolar(.816kwW)_Power_AC | PV(.816kW)_Power_AC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR21 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5363 | Evergreen(1.14kW)_Power_AC | PV(1.14kW)_Power_AC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR22 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5365 | Photowatt(1.260kW)_Power_AC | PV(1.26kW)_Power_AC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR23 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5367 | Kaneka(.6kW)_Power_AC | PV(.6kW)_Power_AC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR24 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Sanyo_EastString_Power_AC | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
5369 | Sanyo(1.755kW)_WestString_Power_AC | PV(1.755kW)_Power_AC | 1.5 | 666.6667 | NA | NA | 1.5 | 666.6667 | 1 | PSU_PVtest2018.CR26 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
5361.5 | Total_Power_PV(5.571)_Power_AC | Total_PV(5.571)_Power_AC | 7.5 | 133.3333 | NA | NA | 7.5 | 133.3333 | 1 | PSU_PVtest2018.CR27 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
6369 | Total_Voltage_PV(5.571)_Volt_AC | Total_PV(5.571)_Volt_AC | 0.15 | 6666.6667 | NA | NA | 0.15 | 6666.6667 | 1 | PSU_PVtest2018.CR28 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9370 | Unisolar_PV_Temp | PV(.816kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR29 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9372 | Evergreen_PV_Temp | PV(1.14kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR30 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9374 | Photowatt_PV_Temp | PV(1.26kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR31 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9376 | Kaneka_PV_Temp_WestString | PV(.6kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR32 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9377 | Kaneka_PV_Temp_EastString | NA | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR33 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
9378 | Sanyo_PV_Temp | PV(1.755kW)_Temp | 100 | 10 | NA | NA | 100 | 10 | 1 | PSU_PVtest2018.CR34 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change | Educated Guess
0 | Battery_V | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA