## SAO site
|  |  | Generates the PRN files (found in the data logger program) |  | Generates the .txt files (the previously processed files (in the old format)) |  | Current calibration (using new methodology)
| Items highlighted in Yellow designate changes from previous sitefile |  | Multiplier (In data logger program) | Responsivity used ( In data logger Program) | Multipler calculated from responsivity | Resposivity used to generate txt file (may not be accurate) (from sitefile) | Multipler calculated from responsivity | Responsivity calculated from new method to calibrate the instruments |  | Column 4 M_prn, comes from | Column 5, R_prn comes from | Column 6 M_txt, comes from | Column 7, R_txt comes from | Column 8 M_shouldbe, comes from | Column 9, R_shouldbe comes from | Column 10, U95% comes from
|  |  | M_prn = 1000/R_prn | R_prn = 1000/M_prn | M_txt = 1000/R_txt | R_txt | M_shouldbe = 1000/R_shouldbe | R_shouldbe = 1000/M_shouldbe | u95%
datafilesbelowhere | datafilesbelowhere | datafilesbelowhere | datafilesbelowhere | datafilesbelowhere | datafilesbelowhere | datafilesbelowhere | datafilesbelowhere | datafilesbelowhere | datafilesbelowhere
StationIDNumber | 94806
Station | SAO
StationName | Salem_Oregon_USA
Longitude (+ east) | -123.0184
Latitude | 44.9214 |  | Column 4 | Column 5 | Column 6 | Column 7 | Column 8 | Column 9 | Column 10
Altitude | 47
TimeZone (+ east) | -8
newcalibration
1979 | 1.0007 | 1979-01-01--00:01
0 | junk | junk | NA | NA | NA | NA | NA | NA | NA
0 | junk | junk | NA | NA | NA | NA | NA | NA | NA
newcalibration
2017 | 1.0007 | 2017-01-01--00:01
1000 | SPLITE(032418) | GHI_SPLITE(032418) | 10.6573 | 93.8324 | NA | NA | 10.5604 | 94.6938 | 1.5814 | SAO program SloPGE_2016_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | SPLITE(032418)_(SAO-GHI).xlsx / R(2006-2018) | SPLITE(032418)_(SAO-GHI).xlsx / R(2006-2018)
1360 | SPLITE(032420) | GHI_TILT_SPLITE(032420) | 10.673 | 93.6944 | NA | NA | 10.6449 | 93.942 | 0.99681 | SAO program SloPGE_2016_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | SPLITE(032420)_(SAO-TILT).xlsx / R(2003-2018) | SPLITE(032420)_(SAO-TILT).xlsx / R(2003-2018)
9300 | Temperature(SAO) | TEMP(SAO) | 1 | 1000 | NA | NA | 1 | 1000 | 1 | SAO program SloPGE_2016_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change value | Educated Guess
9210 | WindSpeed(SAO) | WS(SAO) | 1 | 1000 | NA | NA | 1 | 1000 | 1 | SAO program SloPGE_2016_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change value | Educated Guess
0 | Voltage | Voltage | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
newcalibration
2018 | 1.0007 | 2018-01-01--00:01
1000 | SPLITE(032418) | GHI_SPLITE(032418) | 10.6573 | 93.8324 | NA | NA | 10.5604 | 94.6938 | 1.5814 | SAO program SloPGE_2016_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | SPLITE(032418)_(SAO-GHI).xlsx / R(2006-2018) | SPLITE(032418)_(SAO-GHI).xlsx / R(2006-2018)
1360 | SPLITE(032420) | GHI_TILT_SPLITE(032420) | 10.673 | 93.6944 | NA | NA | 10.6449 | 93.942 | 0.99681 | SAO program SloPGE_2016_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | SPLITE(032420)_(SAO-TILT).xlsx / R(2003-2018) | SPLITE(032420)_(SAO-TILT).xlsx / R(2003-2018)
9300 | Temperature(SAO) | TEMP(SAO) | 1 | 1000 | NA | NA | 1 | 1000 | 1 | SAO program SloPGE_2016_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change value | Educated Guess
9210 | WindSpeed(SAO) | WS(SAO) | 1 | 1000 | NA | NA | 1 | 1000 | 1 | SAO program SloPGE_2016_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change value | Educated Guess
0 | Voltage | Voltage | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
newcalibration
2019 | 1.0007 | 2019-01-01--00:01
1000 | SPLITE(032418) | GHI_SPLITE(032418) | 10.6573 | 93.8324 | NA | NA | 10.5604 | 94.6938 | 1.5814 | SAO program SloPGE_2016_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | SPLITE(032418)_(SAO-GHI).xlsx / R(2006-2018) | SPLITE(032418)_(SAO-GHI).xlsx / R(2006-2018)
1360 | SPLITE(032420) | GHI_TILT_SPLITE(032420) | 10.673 | 93.6944 | NA | NA | 10.6449 | 93.942 | 0.99681 | SAO program SloPGE_2016_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | SPLITE(032420)_(SAO-TILT).xlsx / R(2003-2018) | SPLITE(032420)_(SAO-TILT).xlsx / R(2003-2018)
9300 | Temperature(SAO) | TEMP(SAO) | 1 | 1000 | NA | NA | 1 | 1000 | 1 | SAO program SloPGE_2016_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change value | Educated Guess
9210 | WindSpeed(SAO) | WS(SAO) | 1 | 1000 | NA | NA | 1 | 1000 | 1 | SAO program SloPGE_2016_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change value | Educated Guess
0 | Voltage | Voltage | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
newcalibration
2020 | 1.0007 | 2020-01-01--00:01
1000 | SPLITE(032418) | GHI | 10.6573 | 93.8324 | NA | NA | 10.5604 | 94.6938 | 1.5814 | SloPGE_2019_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | SPLITE(032418)_(SAO-GHI).xlsx / R(2006-2018) | SPLITE(032418)_(SAO-GHI).xlsx / R(2006-2018)
1360 | SPLITE(032420) | GTI(30:180) | 10.673 | 93.6944 | NA | NA | 10.6449 | 93.942 | 0.99681 | SloPGE_2019_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | SPLITE(032420)_(SAO-TILT).xlsx / R(2003-2018) | SPLITE(032420)_(SAO-TILT).xlsx / R(2003-2018)
9300 | Temperature(SAO) | TEMP(SAO) | 1 | 1000 | NA | NA | 1 | 1000 | 1 | SloPGE_2019_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change value | Educated Guess
9210 | WindSpeed(SAO) | WS(SAO) | 1 | 1000 | NA | NA | 1 | 1000 | 1 | SloPGE_2019_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change value | Educated Guess
0 | Voltage | Voltage | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
newcalibration
2021 | 1.0007 | 2021-01-01--00:01
1000 | SPLITE(032418) | GHI_SPLITE | 10.6573 | 93.8324 | NA | NA | 10.5604 | 94.6938 | 1.5814 | SloPGE_2019_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | SPLITE(032418)_(SAO-GHI).xlsx / R(2006-2018) | SPLITE(032418)_(SAO-GHI).xlsx / R(2006-2018)
1360 | SPLITE(032420) | GTI(30:180)_SPLITE | 10.673 | 93.6944 | NA | NA | 10.6449 | 93.942 | 0.99681 | SloPGE_2019_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | SPLITE(032420)_(SAO-TILT).xlsx / R(2003-2018) | SPLITE(032420)_(SAO-TILT).xlsx / R(2003-2018)
9300 | Temperature(SAO) | TEMP_SAO | 1 | 1000 | NA | NA | 1 | 1000 | 1 | SloPGE_2019_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change value | Educated Guess
9210 | WindSpeed(SAO) | WS_SAO | 1 | 1000 | NA | NA | 1 | 1000 | 1 | SloPGE_2019_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change value | Educated Guess
0 | Voltage | Voltage | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
newcalibration
2021.4959 | 182.0007 | 2021-07-01--00:01
0 | SZA_Logger | SZA_Logger | NA | NA | NA | NA | NA | NA | NA | Logger computes the SZA
0 | AZM_Logger | AZM_Logger | NA | NA | NA | NA | NA | NA | NA | Logger computes the AZM
1000 | CMP11(080051) | GHI_CMP11 | 1 | 1000 | NA | NA | 107.7737 | 9.2787 | 1.0968 | Logger records mV | R = 1000/M | NA | NA | M = 1000/R | CMP11_080051(SAO).xlsx / R(2021-2021)(B) | CMP11_080051(SAO).xlsx / R(2021-2021)(B)
1000_SD | CMP11(080051)_Stdev | GHI_CMP11_Stdev | 1 | 1000 | NA | NA | 107.7737 | 9.2787 | 1.0968 | Logger records mV | R = 1000/M | NA | NA | M = 1000/R | CMP11_080051(SAO).xlsx / R(2021-2021)(B) | CMP11_080051(SAO).xlsx / R(2021-2021)(B)
1001 | SPLITE(032418) | GHI_SPLITE | 1 | 1000 | NA | NA | 10.4277 | 95.8986 | 1.0141 | Logger records mV | R = 1000/M | NA | NA | M = 1000/R | SPLITE(032418)_(SAO-GHI).xlsx / R(2018-2021) | SPLITE(032418)_(SAO-GHI).xlsx / R(2018-2021)
1001_SD | SPLITE(032418)_Stdev | GHI_SPLITE_Stdev | 1 | 1000 | NA | NA | 10.4277 | 95.8986 | 1.0141 | Logger records mV | R = 1000/M | NA | NA | M = 1000/R | SPLITE(032418)_(SAO-GHI).xlsx / R(2018-2021) | SPLITE(032418)_(SAO-GHI).xlsx / R(2018-2021)
1360 | SPLITE(032420) | GTI(30:180)_SPLITE | 1 | 1000 | NA | NA | 11.5225 | 86.787 | 0.92017 | Logger records mV | R = 1000/M | NA | NA | M = 1000/R | SPLITE(032420)_(SAO-TILT).xlsx / R(2018-2021) | SPLITE(032420)_(SAO-TILT).xlsx / R(2018-2021)
1360_SD | SPLITE(032420)_Stdev | GTI(30:180)_SPLITE_Stdev | 1 | 1000 | NA | NA | 11.5225 | 86.787 | 0.92017 | Logger records mV | R = 1000/M | NA | NA | M = 1000/R | SPLITE(032420)_(SAO-TILT).xlsx / R(2018-2021) | SPLITE(032420)_(SAO-TILT).xlsx / R(2018-2021)
9300 | Temperature(SAO) | TEMP_SAO | 1 | 1000 | NA | NA | 1 | 1000 | 1 | SloPGE_2019_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change value | Educated Guess
9210 | WindSpeed(SAO) | WS_SAO | 1 | 1000 | NA | NA | 1 | 1000 | 1 | SloPGE_2019_1min.CR1 | R = 1000/M | NA | NA | M = 1000/R | Not enough information to change value | Educated Guess
0 | Voltage | Voltage | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA